## category
Select the category of the economic site below.
Categories:
IA - Mixed industrial estate (traditional)
IB - Mixed industrial estate (modern)
II - Transport & distribution
III - Water-bound industrial estates
IV - Airport-bound industrial estates
V - Science parks
VIA - Office and service zones
VIB - Offices (public-oriented)
VIIA - Retail zones (retail & leisure)
VIIB - Leisure & event (sports stadiums, trade fairs, film, etc.)
VIII - Industrial estates for agro-industry
IX - Zones for waste processing and recycling
Weighting of part-scores in criterion 2.1 d (accessibility of the site) depending on the category:
| IA - Mixed industrial estate (traditional) | IB - Mixed industrial estate (modern) | II - Transport & distribution | III - Water-bound industrial estates | IV - Airport-bound industrial estates | V - Science parks | VIA - Office and service zones | VIB - Offices (public-oriented) | VIIA - Retail zones (retail & leisure) | VIIB - Leisure & event (sports stadiums, trade fairs, film, etc.) | VIII - Industrial estates for agro-industry | IX - Zones for waste processing and recycling
pedestrians | 1 | 2 | 1 | 1 |  | 2 | 2 | 3 | 3 | 3 | 1 | 1
cyclists | 1 | 2 | 1 | 1 |  | 2 | 2 | 3 | 3 | 3 | 1 | 1
public transport | 1 | 2 | 1 | 1 |  | 2 | 2 | 5 | 5 | 5 | 1 | 1
cars | 1 | 1 | 1 | 1 |  | 1 | 1 | 2 | 3 | 3 | 1 | 1
lorries | 2 | 2 | 3 | 3 |  | 1 | 1 | 1 | 2 | 2 | 2 | 2
shipping | 0 | 0 | 2 | 8 |  | 0 | 0 | 0 | 0 | 0 | 1 | 2
freight trains | 2 | 0 | 2 | 3 |  | 0 | 0 | 0 | 0 | 0 | 2 | 2
total | 8 | 9 | 11 | 18 |  | 8 | 8 | 14 | 16 | 16 | 9 | 10
Weighting of scores in chapter 3 (mobility) depending on the category:
| IA - Mixed industrial estate (traditional) | IB - Mixed industrial estate (modern) | II - Transport & distribution | III - Water-bound industrial estates | IV - Airport-bound industrial estates | V - Science parks | VIA - Office and service zones | VIB - Offices (public-oriented) | VIIA - Retail zones (retail & leisure) | VIIB - Leisure & event (sports stadiums, trade fairs, film, etc.) | VIII - Industrial estates for agro-industry | IX - Zones for waste processing and recycling
3.2.1 a walking routes | 2 | 5 | 2 | 2 |  | 5 | 5 | 15 | 15 | 15 | 2 | 2
3.2.1 b residential areas | 2 | 5 | 2 | 2 |  | 5 | 5 | 15 | 15 | 15 | 2 | 2
3.2.2 a cycle routes | 2 | 5 | 2 | 2 |  | 5 | 5 | 15 | 15 | 15 | 2 | 2
3.2.2 b bicycle sheds | 2 | 5 | 2 | 2 |  | 5 | 5 | 15 | 15 | 15 | 2 | 2
3.2.3 a collective transport routes | 2 | 5 | 2 | 2 |  | 5 | 5 | 15 | 15 | 15 | 2 | 2
3.2.3 b collective transport stops | 2 | 5 | 2 | 2 |  | 5 | 5 | 15 | 15 | 15 | 2 | 2
3.2.4 a road infrastructure | 5 | 5 | 10 | 10 |  | 5 | 5 | 5 | 5 | 5 | 10 | 10
3.3 a restrictive parking | 10 | 15 | 10 | 10 |  | 20 | 20 | 25 | 25 | 25 | 10 | 10
3.3 b sustainable parking policy | 10 | 15 | 10 | 10 |  | 20 | 20 | 25 | 25 | 25 | 10 | 10
3.4 a infrastructure for freight traffic | 15 | 10 | 30 | 30 |  | 5 | 5 | 5 | 15 | 10 | 15 | 30
3.4 b trans-shipment points | 15 | 10 | 30 | 30 |  | 5 | 5 | 5 | 15 | 10 | 15 | 30
total | 67 | 85 | 102 | 102 |  | 85 | 85 | 155 | 175 | 165 | 72 | 102
Lijst 3.3 a | X
0
#N/A
#N/A
#N/A
#N/A
Lijst 3.4 a | X
0
#N/A
#N/A
#N/A
Lijsten 7.4 a | X | X | X | X | X | X | X | X
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## score
| SITING | DESIGN PLAN | ISSUANCE / OPERATIONALISATION | SKETCH DESIGN | PRELIMINARY DESIGN | IMPLEMENTATION DESIGN & SPECIFICATIONS | PROVISIONAL ACCEPTANCE | PREPARATION OF MANAGEMENT | Sustainability meter for economic sites Version 2.0, January 2014
Site:
[9 empty] | Category: |  | 0
| phase 1.1 | phase 1.2 | phase 1.3 | phase 2.1 | phase 2.2 | phase 2.3 | phase 2.4 | phase 2.5 |  |  | (select in the Category tab) | chapter weight
score | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1. | Integrated project process |  | 6%
maximum | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
score | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 2. | Siting, programming and design |  | 18%
maximum | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180
score | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 3. | Mobility |  | 12%
maximum | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
score | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4. | Natural environment |  | 12%
maximum | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
score | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5. | Water |  | 6%
maximum | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
score | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6. | Raw materials and waste |  | 6%
maximum | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
score | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7. | Energy |  | 16%
maximum | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160
score | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8. | Health, quality of life and accessibility |  | 12%
maximum | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
score | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9. | Socio-economic aspects |  | 12%
maximum | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
score | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | Total excluding innovation
maximum | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
score | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10. | Innovation
maximum | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
bonus % | bar: phase 1.1 to phase 2.5
% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | Final score including innovation

## 1_project_process
overview | criteria requirements |  | SITING | DESIGN PLAN | ISSUANCE / OPERATIONALISATION | SKETCH DESIGN | PRELIMINARY DESIGN | IMPLEMENTATION DESIGN & SPECIFICATIONS | PROVISIONAL ACCEPTANCE | PREPARATION OF MANAGEMENT
x | x | maximal score | phase 1.1 | phase 1.2 | phase 1.3 | phase 2.1 | phase 2.2 | phase 2.3 | phase 2.4 | phase 2.5 | 1. | INTEGRATED PROJECT PROCESS
x | x | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | x |  | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
x | x
x | x | [9 empty] | 1.1. | PROJECT MANAGEMENT
x | x
x | x | [9 empty] | 1.1.1. | PROJECT TEAM
x | x
x | x | mandatory | [8 empty] | 1.1.1 a | Coordination of clients
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Meet the following requirements: • Provide a list of all parties directly involved. • Identify the appropriate structure to achieve coordinated commissioning. • At the start, indicate the project manager who is authorised to enter into a dialogue with the design team. • Reporting by means of a note or report.
x
Actions
Logbook
x | x | mandatory | [8 empty] | 1.1.1 b | Composition of project team and working group
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Meet the following requirements: • Identify the project manager. • Choice of the designers is based on a pre-defined and transparent procedure. • The decision powers of the project team members are defined in a protocol. • Put together a project team that possesses the above competencies and specify at which stage their input is required. • At the start, designate the person who will be responsible for monitoring and reporting on the sustainability meter. • Reporting by means of a note or report.
x
Actions
Logbook
x | x | [9 empty] | 1.1.2. | DOCUMENTS
x | x
x | x | mandatory | [8 empty] | 1.1.2 a | Strategy plan: project definition, vision and level of ambition
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Reporting by means of a note.
x
Actions
Logbook
x | x | mandatory | [8 empty] | 1.1.2 b | Design plan
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | The design plan contains at least the above components and is updated for each phase of the project.
x
Actions
Logbook
x | x | mandatory | [8 empty] | 1.1.2 c | Design Brief
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Meet the following requirements: • Adapt the Design Brief in each phase and adjust where necessary. • The project team is involved in preparing the Design Brief. • Reporting by means of a detailed report for each phase.
x
Actions
Logbook
x | x | mandatory | [8 empty] | 1.1.2 d | Strategic business plan
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Meet the following requirements: • The business plan defines the economic vision, the organisation and the financial feasibility. • Updating, reporting and assessment of the strategic business plan at each assessment phase.
x
Actions
Logbook
x | x | mandatory | [8 empty] | 1.1.2 e | Project plan
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Meet the following requirements: • Draw up a project plan. • Reporting and assessment by means of project plan and key documents.
x
Actions
Logbook
x | x | mandatory | [8 empty] | 1.1.2 f | Issuance plan and process
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Draw up an issuance plan containing the elements described above.
x
Actions
Logbook
x | x | mandatory | [8 empty] | 1.1.2 g | Zoning plans and permit policy
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Meet the following requirements: • Integrate the conditions from the design plan and the implementation note (Design Brief) into the zoning plan. • Integrate the conditions from the design plan and the implementation note (Design Brief) into the operating permits.
x
Actions
Logbook
x | x | [9 empty] | 1.1.3. | MONITORING AND UPDATING
x | x
x | x | mandatory | [8 empty] | 1.1.3 a | Document management
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Meet the following requirements: • Use unique serial number management for the different project documents, including version management. • Draw up an inventory of all documents that have an input into the project and indicate where they can be consulted. • Create a digital platform through which the project partners can at all times consult and update the documents. • Reporting and assessment by means of a note and the actual implementation of the project documents.
x
Actions
Logbook
x | x | 2 | [8 empty] | 1.1.3 b | Updating basic documents
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Meet the following requirements: • All the basic documents of the design plan and the business plan are available in digitally editable format and may be used for further development. • Establish a procedure on applying for, processing and approving changes after the basic version has been approved. • Determine who to turn to for this as designer or author. • Reporting and assessment by means of starting note and implementation in business plan.
| x | [10 empty] | 1 | Schedule at least one annual evaluation of the design plan and the business plan, together with subsequent updating of the basic documents.
x
Actions
Logbook
x | x | [9 empty] | 1.1.4. | FINANCIAL FEASIBILITY
x | x
x | x | 6 | [8 empty] | 1.1.4 a | Examination of financial feasibility
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Examine the overall financial feasibility: • Plot project costs and revenues. • Investigate whether indirect costs or revenues are generated. • The results of the financial feasibility are included in the strategic business plan.
| x | [10 empty] | 4 | An LCCA analysis has been performed on the designated areas from phase 1.2.
x
Actions
Logbook
x | x | 2 | [8 empty] | 1.1.4 b | Robustness of financial plan
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Investment phase: • List the critical success factors for starting the project. • Carry out a risk analysis for each of the critical success factors. • Examine how the risk can be reduced. • What are the fall-back options? Operational phase: • List the operational business risks. • Perform the sensitivity test. • What are the fall-back options?
x
Actions
Logbook
x | x | [9 empty] | 1.1.5. | PROJECT MANAGEMENT OF PUBLIC DOMAIN AND SHARED INFRASTRUCTURE
x | x
x | x | 2 | [8 empty] | 1.1.5 a | Vision and ambition of public domain and shared infrastructure
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Meet the following requirements: • A draft starting memorandum summarises the assignment that emerges from the design plan and business plan. This summary project definition serves to define main features and make the outlines of the project communicable. • Draw up a Design Brief (DB), and update this at each process step. The design brief starts from the DB design plan.
| x | [10 empty] | 1 | The quality chamber is consulted during each phase.
x
Actions
Logbook
x | x | 2 | [8 empty] | 1.1.5 b | Project management of public domain and shared infrastructure
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Meet the following requirements: • Documents and document management • Reporting and approvals • Project planning • Reporting and assessment by means of starting memorandum and implementation in the process
x
Actions
Logbook
x | x | mandatory | [8 empty] | 1.1.5 c | Basic documents for public domain and shared infrastructure
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Meet the following requirements, depending on the phase: • Sketch design • Preliminary design • Implementation design • Permit applications • Specifications • As-built plan • Management plan
x
Actions
Logbook
x | x | 2 | [8 empty] | 1.1.5 d | Maintenance test for public domain and shared infrastructure
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Plan consultations between designers, the Roads, Bridges and Waterways Department and the Parks and Public Gardens Department to assess the maintenance of the design in terms of: • Accessibility of underground utility pipes • Maintenance friendliness of the public domain: need to limit maintenance, accessibility by maintenance agents, etc. • Limit repairs to the public domain: robustness, repairability, etc. • Green maintenance: pesticide-free, limit green waste (closed green cycle), etc. Reporting and assessment by means of starting memorandum and reports.
x
Actions
Logbook
x | x | [9 empty] | 1.2. | PARTICIPATION
x | x
x | x | 10 | [8 empty] | 1.2 a | Defining a participation model
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 10 | Meet the following requirements: • It is demonstrated that the participation model guarantees continuous questioning by involved stakeholders during the entire design and implementation process and at least satisfies the 4 components of the participation process. • The participation sessions prescribed by law have been integrated into the participation process. • A facilitator has been appointed for participation. • Organisation and resources have been integrated into the strategic business plan.
x
Actions
Logbook
x | x | 15 | [8 empty] | 1.2 b | Consultation with stakeholders
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 5 | Meet the following requirements: • A core group of stakeholders is put together and consulted at sufficiently regular intervals and at least at key moments in the development process. • It is demonstrated that the general public is provided with freely available and comprehensible information at sufficiently regular intervals and at least at key moments in the development process. • The core group and the general public can easily react to the information provided. • The response to the participation input has been demonstrated.
| x | [10 empty] | 5 | In addition to the above, it is demonstrated that actions and changes have been implemented in response to the input from the core group.
| x | [10 empty] | 5 | In addition to the above, it is demonstrated that the participation process involved at least 3 workshops and/or design debates.
x
Actions
Logbook
x | x | 2 | [8 empty] | 1.2 c | Consultation with authorities and utility companies
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Meet the following requirements: • Draw up an inventory of the above services and determine in which phase they are involved. • Reporting by means of a note or report.
x
Actions
Logbook
x | x | 2 | [8 empty] | 1.2 d | Consultation concerning public domain and shared infrastructure
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Meet the following requirements: • Composition of project team and working group. • The designers are chosen according to a pre-defined and transparent procedure. • List those directly concerned and involve them in direct consultation. • Consultation with authorities and utility companies. • Reporting and assessment by means of a starting memorandum and implementation in the process
x
Actions
Logbook
x | x | [9 empty] | 1.3. | INTEGRITY
x | x
x | x | mandatory | [8 empty] | 1.3 a | Sustainability meter
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | The sustainability meter is competed in full and updated in each assessment phase. The sustainability meter indicates the references to the document that explain the measures taken.
x
Actions
Logbook
x | x | 15 | [8 empty] | 1.3 b | Kwaliteitskamer
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 15 | Meet the following requirements: • The quality chamber has been put together. • The advice of the quality chamber for the specified themes and the project team's response is known to the project team and the licensing bodies.
x
Actions
Logbook

## 2_siting
overview | criteria requirements |  | SITING | DESIGN PLAN | ISSUANCE / OPERATIONALISATION | SKETCH DESIGN | PRELIMINARY DESIGN | IMPLEMENTATION DESIGN & SPECIFICATIONS | PROVISIONAL ACCEPTANCE | PREPARATION OF MANAGEMENT
x | x | maximal score | phase 1.1 | phase 1.2 | phase 1.3 | phase 2.1 | phase 2.2 | phase 2.3 | phase 2.4 | phase 2.5 | 2. | SITING, PROGRAMMING AND DESIGN
x | x | 180 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
x | x |  | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180
x | x
x | x | [9 empty] | 2.1. | SITING OF MAIN ACTIVITIES AT MACRO- AND MESO-LEVEL
x | x
x | x | 5 | [8 empty] | 2.1 a | Segmentation and differentiation of economic sites
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 5 | Categorise the type of economic site in a reasoned note. This concerns the main economic activity/ies of the envisaged site. A site can belong to one or more categories, which may or may not be zonally delineated.
x
Actions
Logbook
x | x | 5 | [8 empty] | 2.1 b | Assessment against spatial and programmatic objectives
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 5 | Meet the following requirements: • Organise a meeting with the town planning officer. • Assess the site against the various policy documents. • Prepare a note "Assessment against spatial and programmatic objectives of the site" and include this in the DB.
x
Actions
Logbook
x | x | 20 | [8 empty] | 2.1 c | Reuse of existing and contaminated sites
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 15 | A brownfield is chosen for redevelopment.
| x | [10 empty] | 5 | A site with severe soil contamination (cf. descriptive soil survey) is chosen for redevelopment.
x
Actions
Logbook
x | x | 12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 2.1 d | Accessibility of the site
x | x
| x | [10 empty] | Criteria requirements
| x |  | phase 1.1: Fill in the part-scores for each mode of transport below. The criterion score depends on the category of economic site and is calculated automatically.
| x | [10 empty] | 2 | Accessibility for pedestrians: • 1 point if the site is less than 500 m actual walking distance from a public transport stop. • 1 extra point if the site is less than 200 m actual walking distance from a major public transport junction (where at least 2 main public transport lines cross).
| x | [10 empty] | 3 | Accessibility for cyclists: • 1 point if the site is 2000 m cycling distance from a public transport junction (where at least 2 main public transport lines cross). • 1 extra point if a cycle path can connect to the local cycle route network from the site. • 1 extra point if a cycle path can connect to the supralocal cycle route network from the site or a junction of recreational cycle paths.
| x | [10 empty] | 5 | Accessibility via public transport: • 1 point if the site is not more than 500 m from a public transport stop and meets the following service frequency: weekdays 6-9 a.m. and 4-6 p.m.: 4 services/hr; weekdays 9 a.m.-4 p.m. and 6-9 p.m.: 3 services/hr; weekend 8 a.m.-11 p.m.: 2 services/hr. • 1 extra point if the site is not more than 500 m from a public transport stop and meets the following service frequency: weekdays 6-9 a.m. and 4-6 p.m.: 5 services/hr; weekdays 9 a.m.-4 p.m. and 6-9 p.m.: 4 services/hr; weekend 8 a.m.-11 p.m.: 3 services/hr. • 1 extra point if the site is not more than 200 m from a stop on a main trunk line of public transport. • 2 extra points if the site is not more than 200 m from the junctions of the main trunk lines of public transport and less than 200 m walking distance from a train station.
| x | [10 empty] | 3 | Accessibility by car: • 3 points if the site is accessible from a main road or a category I primary road, or • 2 points if the site is accessible from a category II primary road, or • 1 point if the site is accessible from a secondary road.
| x | [10 empty] | 3 | Accessibility for lorries: • 3 points if the site is accessible from a main road, or • 2 points if the site is accessible from a category I primary road, or • 1 point if the site is accessible from a category II primary road.
| x | [10 empty] | 3 | Accessibility for shipping: • 1 point if one ship can moor and load and unload at the site, or • 2 points if several ships can moor and load and unload at the site, or • 3 points if the site has a port infrastructure or allows this to be developed (quay walls and crane infrastructure).
| x | [10 empty] | 3 | Accessibility for freight trains: • 2 points if a railway can be connected to the site • 1 extra point if the site has unloading docks and transhipment facilities for shipping and lorries.
x
Actions
Logbook
x | x | 33 | [8 empty] | 2.1 e | Facilities: a healthy balance inside and outside the site
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 18 | Inventory and evaluation of the relationship between the economic main function and other functions within and around the site.
| x | [10 empty] | 15 | Development of a substantiated vision regarding the preferred form of alignment between the various functions.
x
Actions
Logbook
x | x | 5 | [8 empty] | 2.1 f | Environmental and mobility nuisance in the surrounding environment
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Inventory and evaluation of potential environmental and mobility nuisance within and around the site, including identifying all possible receptors of nuisance within the system boundary.
| x | [10 empty] | 5 | Demonstrable implementation of (spatial-physical) solution directions in the design and development process or the substantiated ignoring of these.
x
Actions
Logbook
x | x | [9 empty] | 2.2. | DESIGN OF THE ECONOMIC SITE
x | x
x | x | [9 empty] | 2.2.1. | DESIGNING FROM STRUCTURES AND QUALITIES
x | x
x | x | 5 | [8 empty] | 2.2.1 a | Physical system spatially structuring
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Draw up an inventory of the physical system. The inventory consists at least of an outline of the existing situation in which an assessment is given of the various characteristics of the physical system.
| x | [10 empty] | 3 | Create a vision and a specific flowchart that clearly explains where you want to go with the physical system.
x
Actions
Logbook
x | x | 5 | [8 empty] | 2.2.1 b | Significance and identity of the location
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Draw up an inventory of the qualities at site level. • Express this in a flowchart that shows and assesses the various visual and significant characteristics. • A photo reportage of the main characteristics is added.
| x | [10 empty] | 3 | Prepare an aesthetic quality plan for the site, showing the objectives of significant characteristics, view axes and beacons. This aesthetic quality plan is incorporated into the design plan.
x
Actions
Logbook
x | x | 5 | [8 empty] | 2.2.1 c | Crosslinking of networks
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Draw up an inventory of the networks and structures in the surrounding area. Produce a flowchart that maps out and assesses the existing networks.
| x | [10 empty] | 3 | Meet the following requirements: • Establish a vision of possible synergies with these networks (provide the possibility of developing a broad site concept). Express this vision in a flowchart. • Produce a flowchart showing the spatial implications of chain-managing the business processes (see chapter 9).
x
Actions
Logbook
x | x | 5 | [8 empty] | 2.2.1 d | Connecting with the surrounding area: dealing with scale and nuisance
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 5 | Evaluate how this site relates spatially to its environment. Clearly indicate where continuity can be provided and where spatial discontinuity is desirable because of nuisance, disruptions in scale, etc.
x
Actions
Logbook
x | x | / | [8 empty] | 2.2.1 e | Access infrastructure
x | x
| x | [10 empty] | For the record, see chapter 3 Mobility.
x
x | x | [9 empty] | 2.2.2. | INTENSIVE USE OF SPACE AT SITE LEVEL
x | x
x | x | 10 | [8 empty] | 2.2.2 a | Reuse of buildings and historical heritage
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 6 | The reuse of buildings constitutes at least • 10% of the final developed floor area (1 point) • 20% of the final developed floor area (2 points) • 30% of the final developed floor area (4 points) • 40% of the final developed floor area (6 points)
| x | [10 empty] | 4 | The protected monuments and buildings included in the inventory of the architectural heritage on the site are appropriately designated, the valuable sections restored and valued.
x
Actions
Logbook
x | x | 20 | [8 empty] | 2.2.2 b | Density and land use
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 15 | Meet the following requirements: • Investigate the limited space required by buildings. • Define an ambitious density in the design plan. • Investigate the space required by mobility. • Define this in the issuance plan (phase 1.3).
| x | [10 empty] | 5 | Meet the following requirements: • Manage land stocks collectively on the site. • Investigate the possibilities for temporary use.
x
Actions
Logbook
x | x | [9 empty] | 2.2.3. | SPATIAL QUALITY OF DESIGN PLAN
x | x
x | x | 25 | [8 empty] | 2.2.3 a | Assessing spatial quality
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 25 | Meet the following requirements: • The designer makes his choice based on a pre-determined and transparent procedure. • Use a step-by-step consultation during the design process, so that spatial quality can be tested in timely fashion. During each phase the design is presented and approved by the quality chamber. • The final quality of the design is evaluated by means of pre-determined, transparent procedures.
x
Actions
Logbook
x | x | [9 empty] | 2.3. | OPERATIONALISATION OF THE DEVELOPMENT VISION
x | x
x | x | [9 empty] | 2.3.1. | THE ISSUANCE POLICY
x | x
x | x | 25 | [8 empty] | 2.3.1 a | Design plan and time perspective
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 15 | Meet the following requirements: • Provide sufficient flexibility in the design plan to allow a response to changing contexts while the project is being implemented. • Ensure that a pre-determined quality level is guaranteed during the various phases of development (design, issuance and management). • Ensure that the sustainability measures remain guaranteed if certain phases are postponed or not implemented.
| x | [10 empty] | 10 | By means of a note, investigate the possibilities for temporary layout and temporary use for plots and spaces that remain unused for more than 6 months.
x
Actions
Logbook
x | x | [9 empty] | 2.3.2. | SUB-PROJECTS
x | x

## 3_mobility
overview | criteria requirements |  | SITING | DESIGN PLAN | ISSUANCE / OPERATIONALISATION | SKETCH DESIGN | PRELIMINARY DESIGN | IMPLEMENTATION DESIGN & SPECIFICATIONS | PROVISIONAL ACCEPTANCE | PREPARATION OF MANAGEMENT
x | x | maximal score | phase 1.1 | phase 1.2 | phase 1.3 | phase 2.1 | phase 2.2 | phase 2.3 | phase 2.4 | phase 2.5 | 3. | MOBILITY
x | x | 120 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
x | x |  | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
x | x
x | x | [9 empty] | 3.1. | MOBILITY PLANNING AND MANAGEMENT
x | x
x | x | mandatory | [8 empty] | 3.1 a | Mobility impact assessment (MOBER)
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Meet the following requirements: • Produce a mobility impact assessment for the economic site and its surrounding environment. • The MOBER contains a route selection and allocation for pedestrians, cyclists, different modes of collective transport, and cars.
x
Actions
Logbook
x | x | 3 | [8 empty] | 3.1 b | Outdoor air quality: emissions of NOx and particulate matter by road traffic
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | The results of air quality measurements are used to fine-tune the MOBER and, where appropriate, to implement targeted actions to improve air quality.
x
Actions
Logbook
x | x | 5 | [8 empty] | 3.1 c | Transport plan for economic site
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Produce a transport plan based on the MOBER.
| x | [10 empty] | 2 | All companies contribute to the transport plan by exchanging information, producing company transport plans and implementing measures. Schedule an annual evaluation of the transport plan as part of the business plan.
x
Actions
Logbook
x | x | 5 | [8 empty] | 3.1 d | Mobility management
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 5 | Organise mobility management on the site.
x
Actions
Logbook
x | x | 2 | [8 empty] | 3.1 e | Reuse of residual energy for mobility
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Perform an analysis of the alignment of residual energy and the mobility profile of the site in which the technical, organisational and financial aspects (business case) are investigated.
x
Actions
Logbook
x | x | [9 empty] | 3.2. | STOP PRINCIPLE AS DESIGN METHODOLOGY
x | x
x | x | [9 empty] | 3.2.1. | PEDESTRIANS
x | x
x | x | #N/A | [8 empty] | 3.2.1 a | Walking routes
x | x
| x | [10 empty] | Criteria requirements
x
| x |  | phase 1.1: The weighting of this criterion in the chapter score depends on the category of economic site. |  | #N/A | Meet the following requirements: • Estimate the maximum pedestrian use according to the accessibility of and functions on the site. Use this figure in the MOBER, and particularly when selecting the mode of transport (cf. 3.1). • Identify the most important destinations for pedestrians (connections to wider pedestrian network, functions, collective transport stops, etc.) and design the pedestrian network in line with pedestrian flows (cf. MOBER allocation). Ensure the route is attractive (amenity value, social presence, etc.). • Prioritise pedestrian infrastructure over other modes of transport. Separate pedestrians from other road users (both cyclists and motorised transport) and resolve bottlenecks and conflicts with mechanised traffic. • Ensure the footpaths are properly dimensioned in accordance with the Vademecum for Pedestrian Facilities (minimum footpath width = 1.5 m). • Show the design vision in a flowchart.
x
Actions
Logbook
x | x | #N/A | [8 empty] | 3.2.1 b | Residential areas
x | x
| x | [10 empty] | Criteria requirements
x
| x |  | phase 1.1: The weighting of this criterion in the chapter score depends on the category of economic site. |  | #N/A | Meet the following requirements: • Demarcate the residential areas on the economic site. • The design of the public domain must emphasise the residential character and low-traffic nature of these areas. • Residential areas are organised as zone 30. • At the transition from the traffic area to the residential area, transfer gates must emphasise the changed character and force all drivers to adapt their behaviour. • Show the design vision in a flowchart.
x
Actions
Logbook
x | x | [9 empty] | 3.2.2. | PEDALLERS
x | x
x | x | #N/A | [8 empty] | 3.2.2 a | Cycle routes
x | x
| x | [10 empty] | Criteria requirements
x
| x |  | phase 1.1: The weighting of this criterion in the chapter score depends on the category of economic site. |  | #N/A | Meet the following requirements: • Estimate the maximum cycle transport according to the accessibility of and functions on the site. Use this figure in the MOBER, particularly when selecting the mode of transport (cf. 3.1). • Identify the major destinations for cyclists and design the cycle route network in line with cyclist flows (cf. MOBER distribution) and following on from the surrounding cycle route network. Ensure the route is attractive (amenity value, social presence, etc.). • Prioritise cycle routes over motorised forms of transport. Separate cyclists from motorised transport, especially in traffic areas with fast-moving traffic, and resolve bottlenecks and conflicts with motorised transport. • Ensure the cycle paths are properly dimensioned (in accordance with the Vademecum for Cycle Facilities). • Increase the recognition and visibility of the cycle paths (by using specific colours and materials). • Show the design vision in a flowchart.
x
Actions
Logbook
x | x | #N/A | [8 empty] | 3.2.2 b | Bicycle sheds
x | x
| x | [10 empty] | Criteria requirements
x
| x |  | phase 1.1: The weighting of this criterion in the chapter score depends on the category of economic site. |  | #N/A | Meet the following requirements: • Ensure the bicycle sheds are evenly distributed across the site (in terms of capacity and destination flows). • Ensure the bicycle shed is properly located near the destination (easily accessible, social control). • Provide well-dimensioned bicycle sheds (1.75 m x 0.7 m per bicycle) and take measures to protect the bicycle shed against theft and vandalism. Provide additional services such as bicycle pumps, a bike wash, bicycle repair kits, etc. • Provide reserve areas for hire and/or shared bicycles. • Show the design vision in a flowchart.
x
Actions
Logbook
x | x | [9 empty] | 3.2.3. | PUBLIC TRANSPORT
x | x
x | x | #N/A | [8 empty] | 3.2.3 a | Collective transport routes (public and other)
x | x
| x | [10 empty] | Criteria requirements
x
| x |  | phase 1.1: The weighting of this criterion in the chapter score depends on the category of economic site. |  | #N/A | Meet the following requirements: • Estimate the maximum demand for collective transport according to destinations and origin. Use this figure in the MOBER, particularly when selecting the mode of transport (cf. 3.1). • Capacity study: test the capacity of the collective transport according to its peak loads. If necessary, examine the possibilities for expanding the offer with additional public or private collective transport. • The organisation of the collective transport systems allows easy access by large groups of users. • Ensure the smooth movement of collective transport (separate lane or calculation of speed of movement at peak times). • Show the design vision in a flowchart.
x
Actions
Logbook
x | x | #N/A | [8 empty] | 3.2.3 b | Collective transport stops
x | x
| x | [10 empty] | Criteria requirements
x
| x |  | phase 1.1: The weighting of this criterion in the chapter score depends on the category of economic site. |  | #N/A | Meet the following requirements: • Ensure the stops are evenly distributed around the site (with sufficient capacity and not more than a 300 m walk from key destinations with large numbers of users (large offices, retail, leisure)). • Ensure the stop is in attractively located (invitingly close, easy access, lively spot, amenity value, etc.). • Make sure the stop can be easily accessed: no steps, wide footpaths, etc. • Design the shelters according to the criteria of the "check-list for shelters". • Show the design vision in a flowchart.
x
Actions
Logbook
x | x | [9 empty] | 3.2.4. | PRIVATE CARS
x | x
x | x | #N/A | [8 empty] | 3.2.4 a | Road infrastructure for motorised transport
x | x
| x | [10 empty] | Criteria requirements
x
| x |  | phase 1.1: The weighting of this criterion in the chapter score depends on the category of economic site. |  | #N/A | Meet the following requirements: • Estimate the motorised traffic depending on the choice of mode of transport according to the STOP principle. • Design the road infrastructure using allocation, hierarchy, traffic status and typical cross-sections. • Show the design vision in a flowchart.
x
Actions
Logbook
x | x | [9 empty] | 3.3. | A SUSTAINABLE PARKING OFFER
x | x
x | x | #N/A | [8 empty] | 3.3 a | Restrictive parking
x | x
| x | [10 empty] | Criteria requirements
x
| x |  | phase 1.1: The weighting of this criterion in the chapter score depends on the category of economic site. |  | v | The parking offer is managed collectively and includes all the site's parking facilities.
| x | [10 empty] | v | The following steps are undertaken first: • Establish the parking figures for each function. • Support different parking figures. • Examine the theoretical parking requirements on the site. • Make a business case for alternative modes of transport. • Determine the restrictive parking offer to be planned.
x
| x | [10 empty] | #N/A | If the planned parking offer assumes not more than 90% of the validated theoretical parking requirement.
| x | [10 empty] | or
| x | [10 empty] | #N/A | If the planned parking offer assumes not more than 80% of the validated theoretical parking requirement.
| x | [10 empty] | or
| x | [10 empty] | #N/A | If the planned parking offer assumes not more than 70% of the validated theoretical parking requirement.
| x | [10 empty] | or
| x | [10 empty] | #N/A | If the planned parking offer assumes not more than 60% of the validated theoretical parking requirement.
x
Actions
Logbook
x | x | #N/A | [8 empty] | 3.3 b | A sustainable parking policy
x | x
| x | [10 empty] | Criteria requirements
x
| x |  | phase 1.1: The weighting of this criterion in the chapter score depends on the category of economic site. |  | #N/A | Meet the following requirements: • Phase the implementation of the parking offer according to the development phasing and set well-considered fixed thresholds for the construction of a new car park, after (re-)testing the alternatives. • Allow the spatial reserves for parking to be used for other purposes.
| x | [10 empty] | #N/A | Build flexible and removable parking facilities.
| x | [10 empty] | #N/A | Retain control over the parking policy to allow for regulatory intervention.
| x | [10 empty] | #N/A | Provide free parking facilities for the above special groups.
| x | [10 empty] | #N/A | Use paying parking for other car users with not more than 1 subscription per 5 employees.
x
Actions
Logbook
x | x | [9 empty] | 3.4. | FREIGHT TRAFFIC
x | x
x | x | #N/A | [8 empty] | 3.4 a | Infrastructure for freight traffic
x | x
| x | [10 empty] | Criteria requirements
x
| x |  | phase 1.1: The weighting of this criterion in the chapter score depends on the category of economic site. |  | v | A study investigates the opportunities for clustering freight traffic.
| x | [10 empty] | #N/A | Meet the following requirements: • Identify potential alternative means of transport besides the lorry. • Develop the opportunities or retain them with a view to later foreseeable developments.
| x | [10 empty] | #N/A | Meet the following requirements: • Investigate the necessary accessibility for lorries. Gauge road capacity, space requirement, nuisance and safety. • Produce a flowchart with the routes for freight traffic.
x
Actions
Logbook
x | x | #N/A | [8 empty] | 3.4 b | Trans-shipment points for shipping, rail and lorries
x | x
| x | [10 empty] | Criteria requirements
x
| x |  | phase 1.1: The weighting of this criterion in the chapter score depends on the category of economic site. |  | #N/A | Meet the following requirements: • Optimum use is made of accessibility by rail and shipping through the rational siting and use of docks and unloading quays. • Preferably provide collective unloading quays for freight traffic. • Ensure that parked lorries cause as little nuisance as possible.
x
Actions
Logbook
x | x | [9 empty] | 3.5. | SIGNS AND INFORMATION
x | x
x | x | / | [8 empty] | 3.5 a | Information for freight and passenger traffic
x | x
| x | [10 empty] | This comes under mobility management, see 3.1 d.
x
x | x | 5 | [8 empty] | 3.5 b | Signs to and on the site
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 5 | Meet the following requirements: • Produce a signage plan for all road users. • Increase the visibility of the site environment. • Ensure that crossings are clearly indicated. • Provide information signs for internal traffic management.
x
Actions
Logbook
x | x | [9 empty] | 3.6. | TRAFFIC DURING THE CONSTRUCTION PHASE
x | x
x | x | 10 | [8 empty] | 3.6 a | Traffic during the construction phase
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 10 | Conduct a mobility study for traffic during the construction phase and apply the measures.
x
Actions
Logbook

## 4_nature
overview | criteria requirements |  | SITING | DESIGN PLAN | ISSUANCE / OPERATIONALISATION | SKETCH DESIGN | PRELIMINARY DESIGN | IMPLEMENTATION DESIGN & SPECIFICATIONS | PROVISIONAL ACCEPTANCE | PREPARATION OF MANAGEMENT
x | x | maximal score | phase 1.1 | phase 1.2 | phase 1.3 | phase 2.1 | phase 2.2 | phase 2.3 | phase 2.4 | phase 2.5 | 4. | NATURAL ENVIRONMENT
x | x | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | x |  | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
x | x
x | x | [9 empty] | 4.1. | PRELIMINARY STUDY AND INTEGRATED APPROACH
x | x
x | x | mandatory | [8 empty] | 4.1 a | Inventory and survey of the site
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Situate the site in its wider environment (location on maps).
| x | [10 empty] | v | Produce a survey plan of the site.
| x | [10 empty] | v | Produce an inventory of valuable elements on the site.
x
Actions
Logbook
x | x | [9 empty] | 4.2. | PRESERVATION OF NATURAL ENTITIES
x | x
x | x | 6 | [8 empty] | 4.2 a | Preservation of threatened species and areas
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Preserve all the areas described and provide a buffer zone around them with a width according to the pressure on surrounding areas and in consultation with the Parks and Public Gardens Department.
| x | [10 empty] | 3 | Ensure that the existing fauna and flora are protected by making the area to be protected inaccessible (by means of copses, canals, etc.).
x
Actions
Logbook
x | x | 6 | [8 empty] | 4.2 b | Preservation of valuable landscape elements
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Preserve valuable landscape elements.
| x | [10 empty] | 3 | Integrate these elements into the landscape design.
x
Actions
Logbook
x | x | 8 | [8 empty] | 4.2 c | Preservation of green network - ecological connections
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Consult the map of the urban blue-green network.
| x | [10 empty] | 2 | Detect living and/or reproduction sites.
| x | [10 empty] | 2 | Using the ecosystem vulnerability maps, determine the barrier effects of new and existing roads.
| x | [10 empty] | 2 | Justify the implementation or non-implementation of an ecoduct or ecoraster and submit this to the Parks and Public Gardens Department.
x
Actions
Logbook
x | x | 10 | [8 empty] | 4.2 d | Preservation of trees
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 4 | Preserve all valuable trees (maximum 20% relocation or replacement by trees of equivalent value).
| x | [10 empty] | 3 | Offset the grubbed-up trees, preferably in kind, and plant the new trees in accordance with the Technical Vademecum for Trees.
| x | [10 empty] | 3 | In the case of a forest, the forest must be offset in kind on the site itself. If there is no forest on the site, these points are automatically assigned.
x
Actions
Logbook
x | x | 6 | [8 empty] | 4.2 e | Protection of natural entities during the construction phase
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Prepare a status report of natural entities on the site.
| x | [10 empty] | 2 | Cordon off those areas intended as green areas and make them inaccessible during the construction work (indicate the various inaccessible areas on the site plan and at the demarcation).
| x | [10 empty] | 2 | Protect trees that are not situated in these areas and which have to be preserved, in accordance with the measures of the Technical Vademecum for Trees.
x
Actions
Logbook
x | x | [9 empty] | 4.3. | LIMITING PLLUTION OF THE NATURAL ENVIRONMENT
x | x
x | x | [9 empty] | 4.3.1. | SOIL QUALITY AND SANITATION
x | x
x | x | 8 | [8 empty] | 4.3.1 a | Sustainable sanitation concept
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 4 | Provide soil sanitation, using the best available techniques.
| x | [10 empty] | 4 | Use biological sanitation techniques.
x
Actions
Logbook
x | x | 6 | [8 empty] | 4.3.1 b | Local use of cleaned soil
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Draw up a cut and fill calculation. Check how much of the demand for earth can be met by the surplus of earth cleaned on site.
| x | [10 empty] | 2 | Earth that is later sold to private individuals is not immobilised or fixed.
| x | [10 empty] | 2 | If earth is delivered, use only earth that is matched to the future green space management.
x
Actions
Logbook
x | x | 6 | [8 empty] | 4.3.1 c | Limiting soil erosion
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Follow the municipal anti-erosion plan, if available.
| x | [10 empty] | 3 | Apply the above measures to steep inclines and slopes.
x
Actions
Logbook
x | x | [9 empty] | 4.3.2. | WARMING AND EMISSIONS
x | x
x | x | 8 | [8 empty] | 4.3.2 a | Limiting urban warming
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 4 | For at least 50% of the paved surfaces of the surroundings, provide any possible combination of: • Shading from trees • Materials with a solar reflectance index (SRI) of at least 29 • Partial paving with grass blocks or reinforced grass
x
| x | [10 empty] | 4 | Cover at least 50% of the total roof area with green roofing.
| x | [10 empty] | or
| x | [10 empty] | 4 | Cover at least 75% of the total roof area with materials with an SRI of at least 29.
x
Actions
Logbook
x | x | [9 empty] | 4.3.3. | INTELLIGENT VERLICHTEN
x | x
x | x | 10 | [8 empty] | 4.3.3 a | Beperking van lichtvervuiling
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Retrieve all information relevant to the lighting plan (Light Plan I and II of the City of Ghent, VLAREM regulations, etc.).
| x | [10 empty] | 3 | Prepare a light management plan.
| x | [10 empty] | 2 | Determine the minimum target area and the minimum light intensity.
| x | [10 empty] | 2 | Adapt the frequency to the local fauna.
| x | [10 empty] | 2 | Install efficient luminaires.
x
Actions
Logbook
x | x | [9 empty] | 4.4. | NATURE DEVELOPMENT
x | x
x | x | 10 | [8 empty] | 4.4 a | Integration of public and private green space into blue-green networks
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 4 | Existing (and new) watercourses are the guiding principle in developing the blue-green network on the same scale as the design plan.
| x | [10 empty] | 3 | The blue-green network is the basis of the development: it is designed first and is sufficiently predominant.
| x | [10 empty] | 3 | Link the green space to low-dynamic developments in the blue-green network, e.g. cycle paths and footpaths, soft recreation.
x
Actions
Logbook
x | x | 6 | [8 empty] | 4.4 b | Public green space
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Design public green spaces that offer added value to the work environment.
| x | [10 empty] | 2 | Design (public) green spaces in accordance with the principles of Harmonious Park and Green Space Management.
| x | [10 empty] | 1 | Show how the structure, recreational programme, layout and planting correspond with the existing valuable vegetation and the structure of the soil after clean-up and the (new) water management of the site.
x
Actions
Logbook
x | x | 8 | [8 empty] | 4.4 c | Sheltered green zone
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Provide a sheltered green zone on the site connected to the blue-green network.
| x | [10 empty] | 2 | Frame the zone within the preservation and strengthening of green corridors.
| x | [10 empty] | 2 | Use the sheltered green zone multifunctionally, for example in connection with water storage.
| x | [10 empty] | 2 | Shield the sheltered green zone from the other outdoor spaces if there is a danger of overloading.
x
Actions
Logbook
x | x | 6 | [8 empty] | 4.4 d | Planting trees
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Consult the City's Tree Plan.
| x | [10 empty] | 2 | Plant the new trees in accordance with the Technical Vademecum for Trees in consultation with the Parks and Public Gardens Department.
| x | [10 empty] | 2 | Use tall trees.
| x | [10 empty] | 1 | The new trees fit into the landscape design of the site and its immediate surroundings.
x
Actions
Logbook
x | x | 8 | [8 empty] | 4.4 e | Designing with a view to sustainable green space management - management plan
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Produce a memo setting out the global level of ambition for green space management.
| x | [10 empty] | 2 | Investigate possible synergies (profitable forms of collaboration) for shared needs and wishes as regards green space management.
| x | [10 empty] | 2 | Produce a green space management plan in accordance with the above principles.
| x | [10 empty] | 2 | Choose a suitable management structure and formalise the joint venture.
x
Actions
Logbook
x | x | [9 empty] | 4.5. | GREEN SPACE MANAGEMENT
x | x
x | x | 4 | [8 empty] | 4.5 a | Composting area
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Provide a composting area for prunings and clippings on the site.
| x | [10 empty] | 2 | Make sure the landscape is designed so that the green waste can be processed on site.
x
Actions
Logbook
x | x | 4 | [8 empty] | 4.5 b | Weed control
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Only install functional paving.
| x | [10 empty] | 1 | Avoid good growing conditions for weeds.
| x | [10 empty] | 1 | Make sure that paved areas are easily accessible for maintenance.
| x | [10 empty] | 1 | When creating underground infrastructure, the paved surface above is finished such that later interventions cause as little disruption and subsidence as possible.
x
Actions
Logbook

## 5_water
overview | criteria requirements |  | SITING | DESIGN PLAN | ISSUANCE / OPERATIONALISATION | SKETCH DESIGN | PRELIMINARY DESIGN | IMPLEMENTATION DESIGN & SPECIFICATIONS | PROVISIONAL ACCEPTANCE | PREPARATION OF MANAGEMENT
x | x | maximal score | phase 1.1 | phase 1.2 | phase 1.3 | phase 2.1 | phase 2.2 | phase 2.3 | phase 2.4 | phase 2.5 | 5. | WATER
x | x | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | x |  | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
x | x
x | x | [9 empty] | 5.1. | PRELIMINARY WATER MANAGEMENT STUDY
x | x
x | x | mandatory | [8 empty] | 5.1 a | Inventory of water-related data
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Gather water-related data about the site.
| x | [10 empty] | v | Prepare a memo setting out the global level of ambition for water management.
x
Actions
Logbook
x | x | 8 | [8 empty] | 5.1 b | Water study
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 8 | Produce a water study for the site.
x
Actions
Logbook
x | x | [9 empty] | 5.2. | SPACE FOR WATER
x | x
x | x | 5 | [8 empty] | 5.2 a | Preservation, integration and development of existing watercourses
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Consultation with the relevant services.
| x | [10 empty] | 2 | Preserve all existing watercourses and integrate them into the design of the public domain.
| x | [10 empty] | 1 | 75% of the banks of the watercourses on the site are nature-friendly.
| x | [10 empty] | 1 | Provide drainage for rain water and/or treated waste water that makes it possible to top up the water network,
x
Actions
Logbook
x | x | 1 | [8 empty] | 5.2 b | Perception of water on the site
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Link the processing of rain water to informal spaces by means of e.g. wadis or horizontal drains where users can come into contact with the water.
x
Actions
Logbook
x | x | [9 empty] | 5.3. | RESTRICTION WATER CONSUMPTION
x | x
x | x | 5 | [8 empty] | 5.3 a | Water-efficient industrial estate
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Have a water audit carried out when the businesses are starting out and match the businesses that are sited on the industrial estate to each other.
| x | [10 empty] | 2 | Draw up a plan for implementing the measures proposed in the water audit and implement this plan.
| x | [10 empty] | 1 | Install BAT.
x
Actions
Logbook
x | x | 3 | [8 empty] | 5.3 b | Water-saving buildings
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Install taps with a flow rate of not more than 6 litres a minute or another technology (e.g. sensor taps) that demonstrably has the same effect.
| x | [10 empty] | 1 | Install showers that do not use more than 7 litres of water per minute.
| x | [10 empty] | 1 | Install efficient toilets that do not use more than 6 litres per flush and are fitted with a half-flush option.
x
Actions
Logbook
x | x | [9 empty] | 5.4. | ALTERNATIVE WATER SOURCES
x | x
x | x | 5 | [8 empty] | 5.4 a | Reuse of grey water and process water
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Investigate whether process water or grey water can be reused.
| x | [10 empty] | 2 | Provide 50% of the companies that produce process water or grey water with individual or collective installations for grey and/or process water treatment and reuse.
| x | [10 empty] | 1 | Wherever possible, connect installations and appliances in the buildings (e.g. toilet, washing machine, outside tap, collective car wash, etc.) to treated grey water and/or treated process water.
x
Actions
Logbook
x | x | mandatory | [8 empty] | 5.4 b | Reuse of rain water
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Provide all buildings without a green roof with individual or collective rain water tanks that meet the minimum volumes specified in the General Building Regulations of the City of Ghent.
| x | [10 empty] | v | Wherever possible, connect installations and appliances in these buildings to rain water.
x
Actions
Logbook
x | x | 2 | [8 empty] | 5.4 c | Rain water for fire extinguishing
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | In consultation with the fire service, determine how much extinguishing water is needed for the entire site and provide an extinguishing basin with rain water. The extinguishing basin is included in the integrated water system.
x
Actions
Logbook
x | x | 3 | [8 empty] | 5.4 d | Use of surface water, mains water and groundwater
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Show that the various possibilities have been studied when selecting the water sources, taking into account the required quality and purity, the availability of water sources and the order of preference surface water > mains water > groundwater.
x
Actions
Logbook
x | x | [9 empty] | 5.5. | WATER DRAINAGE
x | x
x | x | [9 empty] | 5.5.1. | PROCESSING WASTE WATER
x | x
x | x | 3 | [8 empty] | 5.5.1 a | Separate waste water drainage
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Provide all buildings on the site with a separate water drainage system with a separate drainage pipe for rainwater (this is a legal requirement) and at least two drainage pipes for different waste water flows, in accordance with the specific operation of the companies.
x
Actions
Logbook
x | x | 4 | [8 empty] | 5.5.1 b | Treatment and discharge of waste water
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Provide suitable treatment for industrial waste water.
| x | [10 empty] | 4 | Meet the following requirements: • Investigate the possibility of placing companies that can collaborate on the collective treatment of industrial waste water close together on the site. • Provide collective waste water treatment on the site for industrial waste water.
x
Actions
Logbook
x | x | 3 | [8 empty] | 5.5.1 c | Heat recovery from cooling water
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Use the residual heat from cooling water within companies or in the environment (system boundary).
x
Actions
Logbook
x | x | [9 empty] | 5.5.2. | RAIN WATER DRAINAGE
x | x
x | x | 2 | [8 empty] | 5.5.2 a | Rain water buffering using green roofs
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Provide a green roof with a water storage capacity of at least 50 mm on all roof areas not used for the recovery of rain water.
x
Actions
Logbook
x | x | 5 | [8 empty] | 5.5.2 b | Infiltration of rain water
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Limit paved areas.
| x | [10 empty] | 3 | For paving, choose natural infiltration in a permeable unpaved peripheral zone or a permeable paving with permeable foundation.
x
Actions
Logbook
x | x | 4 | [8 empty] | 5.5.2 c | Buffering with delayed rain water drainage
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Provide buffer facilities with connection to the surface water (buffering is calculated and underpinned with a return period of 50 years).
| x | [10 empty] | or
| x | [10 empty] | 2 | Provide buffer facilities with connection to the rain water drainage pipe (buffering is calculated and underpinned with a return period of 50 years).
x
| x | [10 empty] | 1 | An infiltrating buffer is used (buffer with a permeable base so that minimal infiltration is possible).
x
Actions
Logbook
x | x | [9 empty] | 5.6. | CONSTRUCTION PHASE
x | x
x | x | 2 | [8 empty] | 5.6 a | Surface pollution
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Take adequate steps to prevent surface water contamination, paying particular attention to the above points.
x
Actions
Logbook
x | x | 5 | [8 empty] | 5.6 b | Dewatering
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Produce a report showing that the above aspects of groundwater extraction have been carefully examined.
| x | [10 empty] | 5 | Demonstrable measures have been taken to prevent or sufficiently limit possible negative effects of dewatering.
x
Actions
Logbook

## 6_materials
overview | criteria requirements |  | SITING | DESIGN PLAN | ISSUANCE / OPERATIONALISATION | SKETCH DESIGN | PRELIMINARY DESIGN | IMPLEMENTATION DESIGN & SPECIFICATIONS | PROVISIONAL ACCEPTANCE | PREPARATION OF MANAGEMENT
x | x | maximal score | phase 1.1 | phase 1.2 | phase 1.3 | phase 2.1 | phase 2.2 | phase 2.3 | phase 2.4 | phase 2.5 | 6. | RAW MATERIALS AND WASTE
x | x | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | x |  | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
x | x
x | x | [9 empty] | 6.1. | PRELIMINARY STUDY AND INTEGRATED APPROACH
x | x
x | x | mandatory | [8 empty] | 6.1 a | Inventory of materials present and material flows
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Take an inventory of the materials present on the site.
| x | [10 empty] | v | Take an inventory of the material flows generated by the industrial activities on the site.
x
Actions
Logbook
x | x | 5 | [8 empty] | 6.1 b | Integrated materials management
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Prepare a materials plan for the design.
| x | [10 empty] | 3 | Prepare a materials plan for management, in which the profiles of the various companies in relation to materials cycles are matched to each other as closely as possible.
x
Actions
Logbook
x | x | [9 empty] | 6.2. | INTELLIGENT MATERIAL INFLOW
x | x
x | x | [9 empty] | 6.2.1. | LIMITING THE USE OF MATERIALS
x | x
x | x | 3 | [8 empty] | 6.2.1 a | Correct dimensioning
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Limit the use of materials to a minimum by conducting a study into the correct dimensioning of paved surfaces, sewers, technical infrastructures, etc. Proof through a study of the dimension-specifying elements (e.g. dimensions and turning circle of lorries, decisive for designing the roads).
| x | [10 empty] | 1 | Show that the study effectively allowed the use of materials to be limited.
x
Actions
Logbook
x | x | 2 | [8 empty] | 6.2.1 b | Balanced cut and fill
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Ensure a balanced cut and fill.
| x | [10 empty] | 1 | Designate a suitable place for temporarily storing the soil.
x
Actions
Logbook
x | x | [9 empty] | 6.2.2. | USE OF SUSTAINABLE MATERIALS
x | x
x | x | 6 | [8 empty] | 6.2.2 a | Building materials with a good NIBE classification
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Between 25% and 50% of the new building materials has an NIBE environmental class of not more than 3c.
| x | [10 empty] | or
| x | [10 empty] | 4 | Between 50% and 75% of the new building materials has an NIBE environmental class of not more than 3c.
| x | [10 empty] | or
| x | [10 empty] | 6 | More than 75% of the new building materials has an NIBE environmental class of not more than 3c.
x
Actions
Logbook
x | x | 5 | [8 empty] | 6.2.2 b | Sustainable types of wood
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Use FSC-certified wood.
| x | [10 empty] | or
| x | [10 empty] | 2 | Use PEFC-certified wood.
x
| x | [10 empty] | 1 | If necessary, protect the wood using natural protective products.
| x | [10 empty] | 1 | Use wood from European forests.
x
Actions
Logbook
x | x | 6 | [8 empty] | 6.2.2 c | Recycled materials
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Between 5% and 10% of the materials used are recycled.
| x | [10 empty] | or
| x | [10 empty] | 4 | Between 10% and 15% of the materials used are recycled.
| x | [10 empty] | or
| x | [10 empty] | 6 | More than 15% of the materials used are recycled.
x
Actions
Logbook
x | x | 2 | [8 empty] | 6.2.2 d | Local building materials
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Between 10% and 15% of the materials are produced locally.
| x | [10 empty] | or
| x | [10 empty] | 2 | More than 15% of the materials are produced locally.
x
Actions
Logbook
x | x | 5 | [8 empty] | 6.2.2 e | Avoid products with harmful substances
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 5 | Do not use materials and products that contain harmful substances. Pay attention to the choice of finishing materials, paints, glues and mortar.
x
Actions
Logbook
x | x | 3 | [8 empty] | 6.2.2 f | Maintenance-friendly materials
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Use materials that have a long life and require little maintenance.
x
Actions
Logbook
x | x | [9 empty] | 6.3. | INTELLIGENT MATERIAL THROUGHPUT
x | x
x | x | [9 empty] | 6.3.1. | WASTE AS A RAW MATERIAL
x | x
x | x | 3 | [8 empty] | 6.3.1 a | Reuse of structures and components
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Between 5 and 10% of the building consists of reused structures and components.
| x | [10 empty] | or
| x | [10 empty] | 3 | More than 10% of the building consists of reused structures and components.
x
Actions
Logbook
x | x | 4 | [8 empty] | 6.3.1 b | Removable building components for the public domain and roads
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Use removable fastening systems instead of glues or putties.
| x | [10 empty] | 2 | Use removable building components and separable materials.
x
Actions
Logbook
x | x | [9 empty] | 6.3.2. | MATERIALS CYCLE WITHIN THE ECONOMIC SITE
x | x
x | x | 3 | [8 empty] | 6.3.2 a | Integrated chain management and industrial ecology
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Identify and encourage partnerships between the companies on the site for the exchange of waste and end products.
| x | [10 empty] | 1 | Optimise the production chain of the companies on the site.
x
Actions
Logbook
x | x | [9 empty] | 6.4. | SUSTAINABLE WASTE OUTFLOW
x | x
x | x | 6 | [8 empty] | 6.4 a | Sorting construction and demolition waste
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 6 | Sort the construction and demolition waste on site and ensure it is regularly removed to a sorting centre.
x
Actions
Logbook
x | x | 3 | [8 empty] | 6.4 b | Waste sorting site
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Provide sufficient containers for household waste and waste comparable to household waste on the site, with a distinction being made between PMC, paper and cardboard, glass, biodegradable waste and residual waste.
| x | [10 empty] | 1 | Seek out joint ventures between the companies on the site to collectively gather and sort industrial waste.
| x | [10 empty] | 1 | Provide a collective closed waste collection point on the site for industrial waste.
x
Actions
Logbook
x | x | 1 | [8 empty] | 6.4 c | Collective waste collection
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 1 | Organise collective collection of industrial waste for part or all of the economic site.
x
Actions
Logbook
x | x | [9 empty] | 6.5. | PREPARING FOR MATERIALS MANAGEMENT
x | x
x | x | 3 | [8 empty] | 6.5 a | Maintenance plan for the public space
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Draw up a maintenance plan for the public space.
x
Actions
Logbook

## 7_energy
overview | criteria requirements |  | SITING | DESIGN PLAN | ISSUANCE / OPERATIONALISATION | SKETCH DESIGN | PRELIMINARY DESIGN | IMPLEMENTATION DESIGN & SPECIFICATIONS | PROVISIONAL ACCEPTANCE | PREPARATION OF MANAGEMENT
x | x | maximal score | phase 1.1 | phase 1.2 | phase 1.3 | phase 2.1 | phase 2.2 | phase 2.3 | phase 2.4 | phase 2.5 | 7. | ENERGY
x | x | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | x |  | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160
x | x
x | x | [9 empty] | 7.1. | PRELIMINARY STUDY AND INTEGRATED APPROACH
x | x
x | x | mandatory | [8 empty] | 7.1 a | Energy and CO2 management at site level
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | A contract with the energy manager is proposed in which at least the above terms of reference are included.
x
Actions
Logbook
x | x | mandatory | [8 empty] | 7.1 b | Analysis at establishment level
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | An energy study, including the baseline energy demand for the site and an overview of the building- and production process-related energy-saving technologies, has been produced.
| x | [10 empty] | v | BAT have demonstrably been taken into account in the possible building- and production process-related solutions and measures.
x
Actions
Logbook
x | x | mandatory | [8 empty] | 7.1 c | Analysis at site level and CO2 neutrality plan
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | The energy study from criterion 7.1 b, including the primary energy balance for the site, as well as a CO2 neutrality plan.
| x | [10 empty] | v | Inventory of energy-efficient and CO2 emission-mitigating technologies for collective use (at least 2 establishments), this inventory is used to map site-related communal opportunities for saving energy and reducing CO2 emissions.
x
Actions
Logbook
x | x | [9 empty] | 7.2. | LIMITING THE ENERGY DEMAND
x | x
| x |  | phase 1.1: Firstly, fill in the ratio between production-related energy demand and building-related energy demand, as determined in 7.1 a-b.
| x |  | phase 1.1: production-related energy demand; phase 2.3: %; phase 2.4: M1=; phase 2.5: 0
| x |  | phase 1.1: building-related energy demand; phase 2.3: %; phase 2.4: M2=; phase 2.5: 0
x
x | x | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2 a | Production-related energy demand
x | x
| x | [10 empty] | Criteria requirements
| x |  | phase 1.1: Fill in the reduction (in %) of the production-related primary energy demand in relation to the baseline energy demand as determined in 7.1 b.
| x | [10 empty] | 0 | Establish the reduction in production-related primary energy demand in relation to the 'baseline energy demand' determined in 7.1 b. The score is allocated according to a linear continuous scale: x% reduction gives 2*x%*M1 points (round off to the nearest whole number). The number of points is limited to M1.
x
Actions
Logbook
x | x | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2 b | Building-related energy demand
x | x
| x | [10 empty] | Criteria requirements
| x |  | phase 1.1: Fill in the reduction (in %) of the building-related primary energy demand in relation to the baseline energy demand as determined in 7.1 b.
| x | [10 empty] | 0 | Establish the reduction in building-related energy demand in relation to the 'baseline energy demand' determined in 7.1 b. The score is allocated according to a linear continuous scale: x% reduction gives 1.25*x%*M2 points (round off to the nearest whole number). The number of points is limited to M2.
x
Actions
Logbook
x | x | [9 empty] | 7.3. | ENERGY EXCHANGE AT SITE LEVEL
x | x
x | x | 20 | [8 empty] | 7.3 a | Reuse of residual heat at high or low temperature
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Inventory of the possible opportunities for utilising residual heat inside and outside the site (system boundary). The BAT are also demonstrably taken into account.
| x | [10 empty] | 20 | Implementation of the measures that emerged from the inventory, with 4-yearly evaluation points.
x
Actions
Logbook
x | x | 20 | [8 empty] | 7.3 b | Reuse of residual cold
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | v | Inventory of possible opportunities for reuse of cold inside and outside the site (system boundary). The BAT are also demonstrably taken into account.
| x | [10 empty] | 20 | Implementation of the measures that emerged from the inventory, with 4-yearly evaluation points.
x
Actions
Logbook
x | x | / | [8 empty] | 7.3 c | Reuse of energy for mobility
x | x
See 3.1 e.
x | x | [9 empty] | 7.4. | GENERATION AND USE OF RENEWABLE ENERGY
x | x
x | x | 40 | [8 empty] | 7.4 a | Generation and use of renewable energy
x | x
| x | [10 empty] | Criteria requirements
| x |  | phase 1.1: Fill in the proportion of renewable energy sources (in %) in the primary energy balance as determined in 7.1 b.
| x | [10 empty] | v | Underpinning of the choice to generate and/or externally purchase renewable energy.
| x | [10 empty] | 40 | Establish the proportion of renewable energy sources within the system boundary in the primary energy balance as determined in 7.1 b. The score is allocated according to a linear continuous scale: x% renewable energy gives x%*40 points (round off to the nearest whole number).
x
Actions
Logbook

## 8_quality_of_life
overview | criteria requirements |  | SITING | DESIGN PLAN | ISSUANCE / OPERATIONALISATION | SKETCH DESIGN | PRELIMINARY DESIGN | IMPLEMENTATION DESIGN & SPECIFICATIONS | PROVISIONAL ACCEPTANCE | PREPARATION OF MANAGEMENT
x | x | maximal score | phase 1.1 | phase 1.2 | phase 1.3 | phase 2.1 | phase 2.2 | phase 2.3 | phase 2.4 | phase 2.5 | 8. | HEALTH, QUALITY OF LIFE AND ACCESSIBILITY
x | x | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | x |  | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
x | x
x | x | [9 empty] | 8.1. | HEALTH
x | x
x | x | [9 empty] | 8.1.1. | NOISE POLLUTION
x | x
x | x | 8 | [8 empty] | 8.1.1 a | Managing the noise situation
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 8 | A noise pollution plan is drawn up.
x
Actions
Logbook
x | x | 20 | [8 empty] | 8.1.1 b | Traffic noise
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 10 | The number of highly annoyed in the zone of influence remains the same or falls in relation to the reference situation.
| x | [10 empty] | 10 | In sensitive areas (areas of the Flemish Ecological Network (VEN), Habitats Directive areas and Birds Directive areas) within the sphere of influence, Lden is less than 55 dB(A). If there are no sensitive areas within the system boundary, these points are awarded automatically.
x
Actions
Logbook
x | x | [9 empty] | 8.1.2. | AIR POLLUTION
x | x
x | x | 8 | [8 empty] | 8.1.2 a | Managing outdoor air quality
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 8 | An air quality plan is drawn up which includes at least the above-mentioned elements.
x
Actions
Logbook
x | x | [9 empty] | 8.1.3. | LIGHT POLLUTION
x | x
x | x | 18 | [8 empty] | 8.1.3 a | Limiting light pollution
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 7 | The façade lighting meets the following requirements: • Façade lighting occurs on buildings with a structural height of 10 m or less with projectors that can contain bulbs of not more than 70 W, and on taller buildings with projectors that can contain bulbs of not more than 150 W, which light up the façade evenly and do not flicker. • Façade lighting takes place with metal iodide lamps (halogen lamps are not permitted). • Lighting of the edges or surface of windows by lamps that are explicitly directed outwards and towards the public domain is not permitted, with either white or coloured light. • Any indirect indoor lighting on the edges of windows that shines onto the public domain with more than 2 lux is shielded. • Lighting in private outdoor spaces (gardens, car parks, etc.) is kept limited and as sober as possible. It takes place with projectors that can contain bulbs of not more than 150 W. These projectors give an average lighting intensity of not more than 10 lux in the outdoor area. The light points (luminaires), both against buildings and on posts, are no higher than 4 m in gardens and car parks of 20 spaces or fewer and no higher than 8 m in larger car parks and on commercial premises on industrial estates. The brightness of the illuminated façade remains limited to the value in the column 'Limiting artificial sky glow: façade brightness' in the 'Light pollution' table (zone-dependent). • The scattered light is limited to the value in the column 'Limiting scattered light (other outdoor lighting and indoor lighting of buildings)' in the 'Light pollution' table (zone-dependent). The projectors used comply with the values in the column 'Glare' in the 'Light pollution' table (zone-dependent).
| x | [10 empty] | 7 | The advertising lighting meets the following requirements: • Without prejudice to the provisions of chapter 6.3 of VLAREM II, the advertising lighting is sober (not garish, flickering or dynamic), limited in size and in terms of design and colours in harmony with the building and the natural environment. • It illuminates the adjacent façades and the public domain with not more than 2 lux. • In the case of advertisements that are lit, the lighting intensity is not more than 10 lux on the advertisement.
| x | [10 empty] | 4 | The lighting of infrastructures meets the following requirements: • The projectors used comply with the values in the column 'Limiting artificial sky glow: downwards fraction' in the 'Light pollution' table (zone-dependent). • The scattered light is limited to the values in the column 'Limiting scattered light (street lighting)' in the 'Light pollution' table (zone-dependent). • Based on the class of traffic route, requirements are placed on the technical lighting parameters of the street lighting of importance to light pollution: glare (parameter TI, threshold increment), and scattered light (parameter SR, surround ratio) (EN 13201-2:2003).
x
Actions
Logbook
x | x | [9 empty] | 8.1.4. | WIND COMFORT
x | x
x | x | 10 | [8 empty] | 8.1.4 a | Limiting wind nuisance at ground level
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 5 | If the entire outdoor area up to a radius of 100 m outside the site achieves at least the quality class 'moderate' for wind nuisance, and for wind danger does not obtain the qualification 'dangerous' anywhere.
| x | [10 empty] | or
| x | [10 empty] | 10 | If the entire outdoor area up to a radius of 100 m outside the site achieves at least the quality class 'good' for wind nuisance, and for wind danger does not obtain the qualification 'dangerous' anywhere.
x
Actions
Logbook
x | x | [9 empty] | 8.1.5. | AVAILABILITY OF DAYLIGHT AND SUN
x | x
x | x | 10 | [8 empty] | 8.1.5 a | Availability of daylight and sun
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 5 | Demonstrate with a geometric 3D model that the siting of new buildings only partially shields all buildings (excluding industrial sheds) from direct sunlight. For each sunlit façade, calculate the area percentage of the part that is shielded from direct sunlight by surrounding buildings for three defined solar positions. Perform this analysis for both the sunlit façades of the buildings on the site and those of the surrounding buildings. For each vertical façade area, only consider shielding by surrounding buildings, not by parts of the building itself. Surfaces with an area of less than 10 m2 may be simplified in the modelling. Perform this analysis for three sun positions: • Position 1: sun in the south at a solar angle of 38° (21 March, 12.00 solar time) • Position 2: sun in the south-east at a solar angle of 30° (21 March, 09.30 solar time) • Position 3: sun in the south-west at a solar angle of 30° (21 March, 14.30 solar time) For each sunlit façade, the shielded part of the façade area may not exceed 20% (position 1) or 25% (positions 2 and 3) of the total façade area.
| x | [10 empty] | or
| x | [10 empty] | 10 | Demonstrate by means of a numerical model that the new buildings (excluding industrial sheds) only cause limited shielding from daylight. Based on the climate data in an average climate year and a Perez modelling of the celestial sphere, calculate the sum of the annual incident daylight (lux.m².h) with and without shielding by the new buildings. Perform this analysis as the sum of hourly average values, both for all façades of the buildings on the site and for those of the surrounding buildings. For each vertical façade area, only consider shielding by surrounding buildings, not by parts of the building itself. Perform the calculation with realistic reflection factors for ground and envelope surfaces. Surfaces with an area of less than 10 m2 may be simplified in the geometric modelling. Perform the same analysis for the surfaces of the active solar systems. In this case, however, take account of the shielding by parts of the building itself. The following requirements are simultaneously satisfied: • The annual available amount of daylight (lux.m².h) on all vertical façades of the site and the immediately surrounding façades is at least 80% of the annual available amount of daylight without shielding. • The annual available solar energy (kWh) on surfaces with active solar systems is at least 95% of the annual available amount of daylight without shielding (here, shading by parts of the building itself are taken into account).
x
Actions
Logbook
x | x | [9 empty] | 8.2. | SAFETY
x | x
x | x | 8 | [8 empty] | 8.2 a | Risk study and management
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Carry out a risk analysis for the site, including the individual businesses.
| x | [10 empty] | 5 | Based on this, perform a risk assessment and take justified measures.
x
Actions
Logbook
x | x | 6 | [8 empty] | 8.2 b | Fire safety
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Consult with the fire service when designing the site.
| x | [10 empty] | 3 | Take measures at site level to increase fire safety (fire water supply, assembly points in case of fire, access for the fire service).
x
Actions
Logbook
x | x | 6 | [8 empty] | 8.2 c | Protection against burglary and vandalism
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 2 | Seek advice from the police's prevention officer.
| x | [10 empty] | 4 | Take preventive measures against burglary and vandalism (conceptual and/or electronic measures).
x
Actions
Logbook
x | x | [9 empty] | 8.3. | ACCESSIBILITY AND READABILITY
x | x
x | x | 13 | [8 empty] | 8.3 a | Universal accessibility of the shared space
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 13 | Ensure a universally accessible design, taking the above points into account.
x
Actions
Logbook
x | x | 7 | [8 empty] | 8.3 b | Signage plan
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 7 | Produce a signage plan for the site.
x
Actions
Logbook
x | x | 6 | [8 empty] | 8.3 c | Orientation and mental accessibility
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Ensure a clear sturcture.
| x | [10 empty] | 2 | Provide landmarks for orientation purposes.
| x | [10 empty] | 1 | Give each building or block an identity, colour or material use.
x
Actions
Logbook

## 9_socio-econ
overview | criteria requirements |  | SITING | DESIGN PLAN | ISSUANCE / OPERATIONALISATION | SKETCH DESIGN | PRELIMINARY DESIGN | IMPLEMENTATION DESIGN & SPECIFICATIONS | PROVISIONAL ACCEPTANCE | PREPARATION OF MANAGEMENT
x | x | maximal score | phase 1.1 | phase 1.2 | phase 1.3 | phase 2.1 | phase 2.2 | phase 2.3 | phase 2.4 | phase 2.5 | 9. | SOCIO-ECONOMIC ASPECTS
x | x | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | x |  | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
x | x
x | x | [9 empty] | 9.1. | COOPERATION BETWEEN COMPANIES
x | x
x | x | 20 | [8 empty] | 9.1 a | Cooperation between companies
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 5 | Organise the cooperation between the companies on the site.
| x | [10 empty] | 10 | Produce a management plan for the site.
| x | [10 empty] | 5 | Update the management plan in accordance with developments on the site.
x
Actions
Logbook
x | x | [9 empty] | 9.2. | DESIRED ECONOMIC DEVELOPMENT
x | x
x | x | 10 | [8 empty] | 9.2 a | Integration into the regional economy
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Take an inventory of the relevant policy plans at municipal and regional level.
| x | [10 empty] | 4 | In a note, assess the economic functions against the economic policy plans.
| x | [10 empty] | 3 | Integrate this into the strategic business plan.
x
Actions
Logbook
x | x | 10 | [8 empty] | 9.2 b | Integration into segmentation and diversification of economic sites
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Produce a note on the socio-economic profile of the site. The profile corresponds to the categorisation of the industrial estate in chapter 2, but is more elaborate and is more specific. The note includes a classification of type companies that are desired on the site.
| x | [10 empty] | 4 | Assess potential economic operators against the profile note and associated screening criteria.
| x | [10 empty] | 3 | Integrate this into the business plan and the issuance plan.
x
Actions
Logbook
x | x | 10 | [8 empty] | 9.2 c | Socially responsible economic activities
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | A corporate social investment evaluation is carried out using transparent criteria. The Ethibel evaluation method could be used here, for example.
| x | [10 empty] | 4 | Encourage all businesses that establish themselves on the site to subscribe jointly to a charter that contains the above aspects of sustainable business and formulates global objectives. This also stipulates that medium-sized and large businesses perform Corporate Social Responsibility reporting each year.
| x | [10 empty] | 3 | Integrate the quest for corporate social investment and responsibility into the business plan and the issuance policy.
x
Actions
Logbook
x | x | 20 | [8 empty] | 9.2 d | Clustering of main activities
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | Produce the input-output table at site level for the various streams present. For new industrial estates, this will be an estimate.
| x | [10 empty] | 5 | In a strategic note, show where key economic, social and/or ecological added value can be achieved by clustering certain economic activities on the site.
| x | [10 empty] | 4 | In a chart, indicate what the associated spatial consequences are.
| x | [10 empty] | 5 | Specify how the clustering can be made operational. This varies considerably between a new site and an existing site.
| x | [10 empty] | 3 | Integrate the opportunities for clustering into a strategic note, the business plan and the issuance plan.
x
Actions
Logbook
x | x | 20 | [8 empty] | 9.2 e | Clustering of facilities
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 3 | In a note, show where significant added value can be achieved by implementing certain facility activities on the site.
| x | [10 empty] | 10 | Produce a business case for these collaborations.
| x | [10 empty] | 4 | In a chart, indicate what the associated spatial consequences are.
| x | [10 empty] | 3 | Integrate this into the business plan and the issuance plan.
x
Actions
Logbook
x | x | [9 empty] | 9.3. | SOCIO-ECONOMIC IMPACT
x | x
x | x | 15 | [8 empty] | 9.3 a | Socio-economic impact at supra-local level
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 15 | Produce a socio-economic study.
x
Actions
Logbook
x | x | 15 | [8 empty] | 9.3 b | Socio-economic impact on the immediate environment
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 5 | Analyse the relationship between the industrial estate and the neighbourhood from a socio-economic perspective according to the above approach.
| x | [10 empty] | 10 | Show that you are working to solve problems and utilise opportunities in collaboration with the relevant stakeholders from the neighbourhood.
x
Actions
Logbook

## 10_innovation
overview | criteria requirements |  | SITING | DESIGN PLAN | ISSUANCE / OPERATIONALISATION | SKETCH DESIGN | PRELIMINARY DESIGN | IMPLEMENTATION DESIGN & SPECIFICATIONS | PROVISIONAL ACCEPTANCE | PREPARATION OF MANAGEMENT
x | x | maximal score | phase 1.1 | phase 1.2 | phase 1.3 | phase 2.1 | phase 2.2 | phase 2.3 | phase 2.4 | phase 2.5 | 10. | INNOVATION
x | x | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | x |  | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
x | x
x | x | [9 empty] | 10.1. | INNOVATION IN THE DESIGN
x | x
x | x | 43 | [8 empty] | 10.1 a | Innovation in the design
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 40 | Show that the criteria requirements of the previous chapters are applied and where appropriate linked in an innovative way. 10 points are awarded for each innovative application, with a maximum of 40 points.
| x | [10 empty] | 3 | Produce a report on the innovative measures and submit it to the Environmental Department.
x
Actions
Logbook
x | x | [9 empty] | 10.2. | EXEMPLARY FUNCTION
x | x
x | x | 15 | [8 empty] | 10.2 a | Certification of the design
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 15 | Have the economic site certified.
| x | [10 empty] | or
| x | [10 empty] | 7 | Have at least 20% of the building units certified.
x
Actions
Logbook
x | x | 15 | [8 empty] | 10.2 b | Communication regarding the sustainability meter
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 8 | Convene team meetings during the design process, communicating on the 10 themes of the sustainability meter, and produce a report.
| x | [10 empty] | 7 | Publish both the interim and final results of the sustainability measurement.
x
Actions
Logbook
x | x | [9 empty] | 10.3. | EDUCATION IN RELATION TO SUSTAINABILITY
x | x
x | x | 9 | [8 empty] | 10.3 a | Education through experience of reality
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 9 | Produce a document on the educational measures with the above-mentioned elements.
x
Actions
Logbook
x | x | 9 | [8 empty] | 10.3 b | Education via information panels
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 5 | Put up information boards on the sustainable concepts and techniques applied.
| x | [10 empty] | 4 | Put up information boards on a sustainable approach to the site.
x
Actions
Logbook
x | x | 9 | [8 empty] | 10.3 c | Education via website
x | x
| x | [10 empty] | Criteria requirements
x
| x | [10 empty] | 9 | Produce a website (or a chapter within the existing website) for the general public with a description of sustainability on the economic site.
x
Actions
Logbook